## SITEWORK
PROJECT ID: |  | AL-MAHDI MOSQUE
ADDRESS |  | 3270 MARKHAM ROAD, ONTARIO, CANADA.
SCOPE: |  | Concrete, Parking & Landscape
Date: |  | 2025-02-11
ITEM # | DWG. # | DESCRIPTION | QUANTITY | UNIT | WSTG | QUANTITY W/ WASTAGE | UNIT COST (Material) | UNIT COST (Labor) | TOTAL COST (Labor + Material) | TRADE COST
GENERAL REQUIREMENTS
1 |  | Supervision | 1 | LS | 0% | 1 | 0 | 0 | 0
2 |  | Permits | 1 | LS | 0% | 1 | 0 | 0 | 0
3 |  | Final Clean-up | 1 | LS | 0% | 1 | 0 | 0 | 0
4 |  | Mobilization Costs | 1 | LS | 0% | 1 | 0 | 0 | 0
5 |  | Bonds | 1 | LS | 0% | 1 | 0 | 0 | 0
6 |  | Temporary Control & Facilities | 1 | LS | 0% | 1 | 0 | 0 | 0
7 |  | Mobile Scaffolding/ Lift | 1 | LS | 0% | 1 | 0 | 0 | 0
|  | Subtotal (General Requirements) | [7 empty] | 0
DIVISION 03 - CONCRETE
CAST - IN - PLACE
SITEWORK
8 | SS1 | 2.1m wide heavy duty sidewalk. | 633 | SM | 10% | 696.3 | 0 | 0 | 0
9 | SS1 | Driveway. | 55 | SM | 10% | 60.5 | 0 | 0 | 0
10 | SS1 | 1.8m wide sidewalk. | 151 | SM | 10% | 166.1 | 0 | 0 | 0
11 | SS1, D2 | Curb. 530 mm x 405 mm NOTE : Quantity to be V.I.F. | 740 | M | 10% | 814 | 0 | 0 | 0
12 | SS1 | Depressed curb. | 16 | M | 10% | 17.6 | 0 | 0 | 0
13 | SS1 | Joint filler. NOTE : Assumed between new and existing concrete walk. V.I.F. | 102 | M | 10% | 112.2 | 0 | 0 | 0
STRUCTURAL CONCRETE
14 |  | Slab-on-grade | 2595 | SM
15 |  | 35MPA poured 12" Thick concrete slab | 2025 | SM | 15% | 2328.75 | 0 | 0 | 0
16 |  | 35MPA poured 6" Thick concrete slab | 570 | SM | 15% | 655.5 | 0 | 0 | 0
17 |  | 6 MIL poly sheet | 2595 | SM | 15% | 2984.25 | 0 | 0 | 0
18 |  | 5" clean granular fill | 411.9563 | CM | 15% | 473.7497 | 0 | 0 | 0
19 |  | 6x6 x 6/6 W.W.M. | 2595 | SM | 15% | 2984.25 | 0 | 0 | 0
20 |  | 2" Rigid insulation at perimeters (24" wide) | 526 | SM | 15% | 604.9 | 0 | 0 | 0
21 |  | 1/2" expansion joints | 287 | M | 15% | 330.05 | 0 | 0 | 0
22 |  | 1/2" expansion joints @ 15'-0" O.C. | 385 | M | 15% | 442.75 | 0 | 0 | 0
23 |  | Concrete for sub-structure. | 1186 | CM | 15% | 1363.9 | 0 | 0 | 0
24 |  | 190mm concrete block wall. | 7 | CM | 15% | 8.05 | 0 | 0 | 0
25 |  | SIKA proof A-12 fully bonded FPO sheet membrane waterproofing. V.I.F. | 1868 | SM | 15% | 2148.2 | 0 | 0 | 0
26 |  | TYVEK sheathing | 1868 | SM | 15% | 2148.2 | 0 | 0 | 0
27 |  | Foam spray R10 | 1868 | SM | 15% | 2148.2 | 0 | 0 | 0
28 |  | 2" thick steel studs @ 2'-0" O/C 2" Top and bottom runners Quantity to be V.I.F. | 1 | LS | 15% | 1.15 | 0 | 0 | 0
29 |  | Vapor barrier. V.I.F. | 3736 | SM | 15% | 4296.4 | 0 | 0 | 0
30 |  | 125mm concrete slab on grade 35 Mpa | 709 | SM | 15% | 815.35 | 0 | 0 | 0
31 |  | 5" clean granular fill | 112.5538 | CM | 15% | 129.4368 | 0 | 0 | 0
32 |  | 6 MIL poly sheet | 709 | SM | 15% | 815.35 | 0 | 0 | 0
33 |  | 150x150x 6x6 W.W.M. 50 mm | 709 | SM | 15% | 815.35 | 0 | 0 | 0
34 |  | 10" thick slab exterior slab on grade 35 Mpa | 151 | SM | 15% | 173.65 | 0 | 0 | 0
35 |  | 15M @ 10" T&B E.W. | 354 | M | 15% | 407.1 | 0 | 0 | 0
36 |  | 30M | 2693 | M | 15% | 3096.95 | 0 | 0 | 0
37 |  | 20M | 9910 | M | 15% | 11396.5 | 0 | 0 | 0
38 |  | 25M | 6372 | M | 15% | 7327.8 | 0 | 0 | 0
39 |  | 15M @ 10" T&B E.W. | 18494 | M | 15% | 21268.1 | 0 | 0 | 0
PRE-CAST CONCRETE
40 | SS1 | Transformer concrete pad 1.8m x 1.8m | 1 | EA | 0% | 1 | 0 | 0 | 0
41 | SS1 | 0.65m High Toe wall. | 82 | M | 10% | 90.2 | 0 | 0 | 0
42 | S4.0B | Pre-cast concrete staircase 22 Steps (2 Flights) Note : Details to be V.I.F. | 2 | EA | 0% | 2 | 0 | 0 | 0
43 | S4.0B | Pre-cast concrete staircase 22 Steps (2 Flights) Note : Details to be V.I.F. | 2 | EA | 0% | 2 | 0 | 0 | 0
44 | S4.0B | Pre-cast concrete staircase 11 steps (1 Flight) Note : Details to be V.I.F. | 1 | EA | 0% | 1 | 0 | 0 | 0
1 HR Fire rated hollow core concrete floor slabs. 4" Edge support, 2" edge support. Details to be V.I.F.
45 | S4.0A, B | 200mm precast concrete slab size : 6.9m x 24.9m | 2 | EA | 0% | 2 | 0 | 0 | 0
46 | S4.0A, B | 300mm precast concrete slab Size : 8.9m x 22.9m | 2 | EA | 0% | 2 | 0 | 0 | 0
47 | S4.0A, B | 200mm precast concrete slab Size : 5m x 23m | 2 | EA | 0% | 2 | 0 | 0 | 0
48 | S4.0A, B | 200mm precast concrete slab size : 6.6m x 24.3m | 1 | EA | 0% | 1 | 0 | 0 | 0
49 | S4.0A, B | 200mm precast concrete slab Size varies, to be V.I.F. | 1 | EA | 0% | 1 | 0 | 0 | 0
50 | S4.0A, B | 350mm precast concrete slab Size : 47.3m x 29.6m | 1 | EA | 0% | 1 | 0 | 0 | 0
|  | Subtotal (Concrete) | [7 empty] | 0
Division 31 - EARTHWORK
EARTHWORK
51 |  | Excavation for drainage structures and pipes. 25% Fluff factor added. | 3092 | CM | 10% | 3401.2 | 0 | 0 | 0
52 |  | Backfill for drainage structures. 25% Fluff factor added. | 184 | CM | 10% | 202.4 | 0 | 0 | 0
53 |  | Excavation for footings. 25% Fluff factor added. | 4537 | CM | 10% | 4990.7 | 0 | 0 | 0
54 |  | Backfill for footings. 25% Fluff factor added. | 3367 | CM | 10% | 3703.7 | 0 | 0 | 0
55 |  | Shoring. | 4404 | SM | 10% | 4844.4 | 0 | 0 | 0
56 |  | Stripe all topsoil and landscape for slab on grade. Quantity to be V.I.F. | 2747 | SM | 10% | 3021.7 | 0 | 0 | 0
|  | Subtotal (Earthwork) | [7 empty] | 0
Division 32 - EXTERIOR IMPROVEMENTS
ASPHALT DRIVEWAY
57 | SS1, D2 | Heavy duty pavement. | 434 | SM
58 | SS1, D2 | 50mm HL-3 F (Fine) Top | 21.7 | CM | 10% | 23.87 | 0 | 0 | 0
59 | SS1, D2 | 80mm HL-6 BASE (2 Lifts) | 34.72 | CM | 10% | 38.192 | 0 | 0 | 0
60 | SS1, D2 | 150mm Granular 25% fluff factor added. | 81.375 | CM | 10% | 89.5125 | 0 | 0 | 0
61 | SS1, D2 | Concrete pavement NOTE : Provision to be V.I.F. | 7525 | SM
62 | SS1, D2 | PCC top | 1354.5 | CM | 10% | 1489.95 | 0 | 0 | 0
63 | SS1, D2 | Granular A 25% fluff factor added. | 1411.3125 | CM | 10% | 1552.4437 | 0 | 0 | 0
LANDSCAPING
64 | SS1 | Landscape. | 4924 | SM | 10% | 5416.4 | 0 | 0 | 0
65 | SS1 | Sod. | 995 | SM | 10% | 1094.5 | 0 | 0 | 0
|  | Subtotal (Exterior Improvements) | [7 empty] | 0
Division 33 - UTILITIES
DRAINAGE STRUCTURES
CATCH BASIN
All catchbasins shall be provided with GOSS TRAPS and with 2-10 diameter sub drains extending 2m beyi=ond structure & additional 100mm diameter sub-drain installed at 2m radius around structure. Wrap subdrain with a filter cloth and installed in granular fill.
66 | SS1, D1 | Catch basin Size : 820 mm x 820 mm Depth : 2000 mm (V.I.F.) | 10 | EA | 0% | 10 | 0 | 0 | 0
67 | SS1, D1 | Catch basin Size : 820 mm x 820 mm Depth : 2280 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
68 | SS1, D1 | Catch basin cover Size : 564 mm x 604 mm NOTE : Size of cover to be V.I.F. | 11 | EA | 0% | 11 | 0 | 0 | 0
DCB
69 | SS1, D1 | Drainage catch basin. Depth : 2000 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
70 | SS1, D1 | Drainage catch basin cover NOTE : Size of cover to be V.I.F. | 1 | EA | 0% | 1 | 0 | 0 | 0
SANITARY MANHOLES
71 | SS1, D1 | SAN MH Dia : 1200 mm Depth : 3470 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
72 | SS1, D1 | Sanitary manhole frame and grate. Note : Size to be V.I.F. | 1 | EA | 0% | 1 | 0 | 0 | 0
STORM MANHOLES
73 | SS1, D1 | STM MH Dia : 1200 mm Depth : 2540 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
74 | SS1, D1 | STM MH Dia : 1200 mm Depth : 2810 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
75 | SS1, D1 | STM MH with drop connection Dia : 1200 mm Depth : 3390 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
76 | SS1, D1 | STM MH Dia : 1200 mm Depth : 3960 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
77 | SS1, D1 | STM MH with overflow inlet Dia : 1200 mm Depth : 5710 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
78 | SS1, D1 | STM MH with overflow outlet Dia : 1200 mm Depth : 5360 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
79 | SS1, D1 | STM MH Dia : 1200 mm Depth : 3200 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
80 | SS1, D1 | STM MH Dia : 1200 mm Depth : 3410 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
81 | SS1, D1 | STM MH Dia : 1200 mm Depth : 4340 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
82 | SS1, D1 | STM MH drop connection Dia : 1500 mm Depth : 5000 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
83 | SS1, D1 | STM MH Dia : 1500 mm Depth : 4630 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
84 | SS1, D1 | STM MH (Jelly Fish JF8-6-2) Size : 1200 mm Dia Depth : 5440 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
85 | SS1, D1 | STM MH Contriol manhole Size : 1200mm Dia Depth : 6150 mm | 1 | EA | 0% | 1 | 0 | 0 | 0
PVC WM PIPING
86 | SS1 | 100mm Dia PVC DR28 DOM water main. | 17 | M | 10% | 18.7 | 0 | 0 | 0
87 | SS1 | 200mm Dia PVC DR28 FIRE water main. | 17 | M | 10% | 18.7 | 0 | 0 | 0
88 | SS1 | 150mm Dia PVC DR28 Watermain | 32 | M | 10% | 35.2 | 0 | 0 | 0
PVC SANITARY PIPING
89 | SS1 | 250mm Dia SAN | 2 | M | 10% | 2.2 | 0 | 0 | 0
90 | SS1 | 250 Dia DR35 SAN w/ Internal backflow preventor | 7 | M | 10% | 7.7 | 0 | 0 | 0
SANITARY PLUGS
91 | SS1 | 250mm Dia sanitary plug. | 1 | EA | 0% | 1 | 0 | 0 | 0
PVC STORM PIPING
92 | SS1 | 250 mm Dia PVC DR35 STM | 15 | M | 10% | 16.5 | 0 | 0 | 0
93 | SS1 | 250 mm Dia PVC STM | 135 | M | 10% | 148.5 | 0 | 0 | 0
94 | SS1 | 300mm Dia PVC STM | 4 | M | 10% | 4.4 | 0 | 0 | 0
95 | SS1 | 375mm Dia PVC DR35 STM | 141 | M | 10% | 155.1 | 0 | 0 | 0
96 | SS1 | 525mm Dia PVC STM | 4 | M | 10% | 4.4 | 0 | 0 | 0
CONCRETE STORM PIPING
97 | SS1 | 525 mm Dia CONC STM | 11 | M | 10% | 12.1 | 0 | 0 | 0
98 | SS1 | 525 Dia Concrete DR35 STM | 134 | M | 10% | 147.4 | 0 | 0 | 0
PVC CONCRETE STORM PIPING
99 | SS1 | 520mm Dia PVC CONC STM | 11 | M | 10% | 12.1 | 0 | 0 | 0
STORMWATER STORAGE TANK
100 | SS1 | Stormwater irrigation storage tank Size : 3.6m H x 2.0m W x 4m L | 1 | EA | 0% | 1 | 0 | 0 | 0
101 | SS1 | Storage tank access hatch Size : 0.5m x 0.5m | 1 | EA | 0% | 1 | 0 | 0 | 0
FRENCH DRAIN
102 | SS1 | 100mm Dia French drain. | 36 | M | 10% | 39.6 | 0 | 0 | 0
VALVES, BOXES, TEES AND BENDS
103 | SS1 | 200 mm Valve and box for fire water main. | 2 | EA | 0% | 2 | 0 | 0 | 0
104 | SS1 | 150 mm valve and box for water main. | 1 | EA | 0% | 1 | 0 | 0 | 0
105 | SS1 | 100 mm valve and box for water main. | 2 | EA | 0% | 2 | 0 | 0 | 0
106 | SS1 | 200mm x 100 mm TEE STD T-1104.02-3 | 1 | EA | 0% | 1 | 0 | 0 | 0
107 | SS1 | 90 Deg bend (150mm Dia PVC) | 4 | EA | 0% | 4 | 0 | 0 | 0
108 | SS1 | 90 Deg Bend (250mm Dia PVC) | 14 | EA | 0% | 14 | 0 | 0 | 0
109 | SS1 | 90 Deg Bend (250mm Dia PVC DR35) | 4 | EA | 0% | 4 | 0 | 0 | 0
110 | SS1 | 90 Deg Bend (250mm Dia PVC DR35) | 6 | EA | 0% | 6 | 0 | 0 | 0
111 | SS1 | 90 Deg bend (525mm Dia PVC) | 4 | EA | 0% | 4 | 0 | 0 | 0
112 | SS1 | 90 Deg bend (525mm Dia Concrete DR35) | 16 | EA | 0% | 16 | 0 | 0 | 0
113 | SS1 | 90 Deg bend (100mm Dia PVC) | 3 | EA | 0% | 3 | 0 | 0 | 0
114 | SS1 | 90 Deg bend (520mm Dia PVC conc) | 4 | EA | 0% | 4 | 0 | 0 | 0
115 | SS1 | 90 Deg bend (375mm Dia PVC DR35) | 12 | EA | 0% | 12 | 0 | 0 | 0
116 | SS1 | 90 Deg bend (300mm Dia PVC) | 4 | EA | 0% | 4 | 0 | 0 | 0
117 | SS1 | 45 Deg angle for catch basin (250mm Dia) | 22 | EA | 0% | 22 | 0 | 0 | 0
118 | SS1 | Wye fiiting for catch basin (250mm Dia) | 22 | EA | 0% | 22 | 0 | 0 | 0
119 | SS1 | Tee-fitting (525mm to 250mm PVC) | 2 | EA | 0% | 2 | 0 | 0 | 0
CHECK VALVE CHAMBER
120 | SS1 | Check valve chamber. NOTE : Provision to be V.I.F. | 1 | EA | 0% | 1 | 0 | 0 | 0
WATER METER CHAMBER
121 | SS1 | Water meter chamber. NOTE : Provision to be V.I.F. | 1 | EA | 0% | 1 | 0 | 0 | 0
ORIFICE TUBE
122 | SS1 | 150mm Dia orifice tube. | 1 | M | 10% | 1.1 | 0 | 0 | 0
123 | SS1 | 100mm Dia orifice tube. | 1 | M | 10% | 1.1 | 0 | 0 | 0
FIRE HYDRANTS
124 | SS1 | Fire hydrant. | 1 | EA | 0% | 1 | 0 | 0 | 0
125 | SS1 | Valve and box (150mm Dia) | 1 | EA | 0% | 1 | 0 | 0 | 0
126 | SS1 | 90 Deg bend (150mm Dia) | 1 | EA | 0% | 1 | 0 | 0 | 0
127 | SS1 | Pressure Gauge (150 mm Dia) | 2 | EA | 0% | 2 | 0 | 0 | 0
128 | SS1 | Relocate fire hydrant. | 1 | EA | 0% | 1 | 0 | 0 | 0
|  | Subtotal (Utilities) | [7 empty] | 0
SUBTOTAL | [9 empty] | 0
Sales Tax |  | 5% | [7 empty] | 0
OVERHEAD/PROFIT |  | 15% | [7 empty] | 0
INSURANCE |  | 5% | [7 empty] | 0
CONTINGENCY |  | 7% | [7 empty] | 0
TOTAL BASE BID | [9 empty] | 0
Note: